## Slide 1: Design of the first large area scintillator-based chamber for the MID detector
Laura Helena González Trueba
Varlen Grabski

## Slide 2
FNAL-NICADD Extruded scintillator bars
1 m length, 4 cm width, 1 cm thickness
Reduced prototype has a length of 25 cm
Optical cement was injected into the groove to adapt a WLSF.
It was wrapped with aluminium tape.

## Slide 3
Assembly steps

## Slide 4
Wavelength Shifter Fiber- Kuraray Y-11-200MJ 1.5 and 2 mm of diameter.
2 mm
1.5 mm

## Slide 5: SiPM-Hamamatsu 4160-3050HS , 3X3 mm2 Snap Fit holder for the SiPMs

## Slide 6: Total assembling of each bar
Plastic Scintillator
WLSF
SiPM
PC Board
Connector
Snap Fit Holder

## Slide 7
WLS Fiber of 2 mm:
Upper layer channel 15
Bottom layer channels 41 to 461

## Slide 8
Scintillator Chamber without its mechanical structure

## Slide 9
SiPMs Holders

## Slide 10: MID Chamber 1x1 m2

## Slide 11: Simulation for mechanical stress on the mechanical structure

## Slide 12: Attenuation Length
SiPM
3.60±1.15 m

## Slide 13
Fibers of 1.5 mm
Fibers of 2 mm
41%

## Slide 14
σt

## Slide 15
Reduce Prototype 25 x 25 cm2

## Slide 16
Efficiency 98.2%

## Slide 17: Test beam 2025 for 1x1 m2 MID chamber.

## Slide 18
CAEN DT5202 Module
Janus Softeware for data acquisition.
First Layer
Second Layer
First Layer
Second Layer

## Slide 19
Reduce MID Scintillator chamber 25x25 cm2

## Slide 20
Reduce Prototype Chamber 25 X 25 cm2
25 cm
25 cm

## Slide 21
MID Scintillator chamber 1x1 m2

## Slide 22
1 X 1 m2 Prototype
1 m
1 m

## Slide 23: Paper for the test beam 2025 of the MID chamber prototype
15/04/2026
ALICE Mexico Annual Meeting

## Slide 24: Identified muons as a function of absorber length.

## Slide 25: Installation of MID Prototype 1x1 m2 at the roof of L3 ALICE YOKE

## Slide 26: All Cycle
Injection
Ramp
Stable Beam
Dump and Ramp Down
Rate all cycle vs Local Time

## Slide 27: GOALS for the installation
Before and after de beam injection take data to analize the background and compering them with simulation on FLUKA.
For collision on p-p, during stable beam take data and also compere the results with GEANT 4 and Pythia.
15/04/2026
ALICE Mexico Annual Meeting

## Slide 28: Summary
MID 1x1 m2 prototype
The geometrical efficiency of the 2nd reduced prototype is about 98.2%
An estimation of the attenuation length was obtained, λ=3.6m.
The fibers of 2mm transmitted 41% more than 1.5 mm.
For the 1x1 m2 prototype, a muon efficiency of 94% would be sufficient to give a fake-muon efficiency of 2.7% a 70 cm-thick absorber.
Installation
In February, the MID 1x1 m2 chamber prototype was installed at the ALICE cavern; now it is working in the data acquisition and in the análisis as well as in the simulations.

## Slide 30
Data-driven background efficiency as a function of absorber length
15/04/2026
ALICE Mexico Annual Meeting