## Slide 1: 2012 TS2 Activities Report
Mario Iván Martínez H.
Mario Rodríguez C.
Guillermo Tejeda M.

## Slide 2: Monday 25.06.2012
Problems with USB Blaster (FPGA programmer)
  Incorrect drivers for Quartus
  Seen by Win but not by Quartus
  Quartus 10.0 solved it
New firmware programmed to FPGA
Run with MCN = 0
  ~ 127 Hz recovered
  few empty events
Run with MCN = 4 (or 3?)
  ~ 0.1 Hz
  No empty events seen

## Slide 3: Tuesday 26.06.2012
Firmware change to set ‘N+1’ coincidence
Runs with MCN = 0, 1, 2, 3
Runs with MCN = 0 and two faces disabled
  To check for the ‘switching hypothesis’ for empties
Run with ASL trigger (no empties seen)

## Slide 4: Wednesday 27.06.2012
Long runs with MCN = 2, 3

## Slide 5: Thursday 28, Friday 29.06.2012
Alignment
Thu. ASL with limit delay (15 BC) at CTP
  AMU delayed 3 BC and aligned with OB0
  ASL delayed 10 BC and 8 BC ahead of AMU
Fri. ASL delay was mistaken
  ASL is delayed 1 BC
  Alignment possible
  …but still 1 BC is missing
Alignment can be checked at:
https://alice-logbook.cern.ch/logbook/date_online.php?p_cont=threadd&p_tid=475278&p_cidh=475395#le475395
t
1
8
3
ASL
AMU
ASL
AMU
6